GUIDELINES FOR MEDICAL DEVICES

- MARKETING AUTHORIZATION

Marketing Authorization of medical device is approved by the Minister of Health through Director General of Pharmaceutical and Medical Device after fulfilling evaluation process and is declared to meet all requirements of safety, quality, and performance.

Template of the Marketing Authorization number of Imported Medical Device:

KEMENKES RI AKL XXXXXXXXXXX

Marketing Authorization for the medical device shall be done online through the website with the address http://www.regalkes.depkes.go.id and/or at the Integrated Service Unit at Ministry of Health.

REGISTRATION FEE AND TIMELINE

Requirement and length of time to obtain the Marketing Authorization is depends on the risk classification of the medical device. Duration of Marketing Authorization process is calculated since obtaining the fixed receipt from online registration. The fixed receipt is given after the applicant obtains class verification result and pays the Non-Taxed State Revenue (PNBP) pursuant to the legislation.

In order to implement transparent and accountable services there has been a change from manually organized at the first than become online system, in which the application system may not be in offline position due to calculating of service day use calendar day provide by online system.

Type, Time And Fee Of Registration Services

| TYPE OF SERVICE | Classification Process (day) | Evaluation Process* (day) | FEE ** Rp (IDR) |
| --- | --- | --- | --- |
| Medical Device Marketing Authorization Class A (I) | 7 | 45 | Rp. 1.500.000 |
| Medical Device Marketing Authorization Class B (IIa) | 7 | 90 | Rp. 3.000.000 |
| Medical Device Marketing Authorization Class C (IIb) | 7 | 100 | Rp. 3.000.000 |
| Medical Device Marketing Authorization Class D (III) | 7 | 120 | Rp. 5.000.000 |
| Renewal/Variation of Medical Device Marketing Authorization Class A (I) | 7 | 45 | Rp. 500.000 |
| Renewal/Variation of Medical Device Marketing Authorization Class B (IIa) | 7 | 45 | Rp. 1.000.000 |
| Renewal/Variation of Medical Device Marketing Authorization Class C (IIb) | 7 | 45 | Rp. 1.000.000 |
| Renewal/Variation of Medical Device Marketing Authorization Class D (III) | 7 | 45 | Rp. 1.000.000 |

*) Timeline in calendar day needed for initial evaluation

**) As regulated in Government Regulation no. 21 year 2013 concerning type and tariff for Non-Taxed State Revenue (PNBP) in Ministry of Health

TAKING THE MARKETING AUTHORIZATION

1. Notification of approved Marketing Authorization of medical device can be checked at website http://www.regalkes.depkes.go.id

2. Taking of the Marketing Authorization is done at Integrated Services Unit counter by showing original fixed receipt.

3. No Fee other than the non-tax revenues.

- REGISTRATION PROCESS STAGES

1. Pre-Registration Stage

Pre-Registration is the process that evaluator do the verification for classification risk of the medical device to determine non-tax revenue fee.

a. The Applicant shall complete submission in proportion to the requirement through website: http://www.regalkes.depkes.go.id. Pre-Registration evaluation result will be informed electronically in the website and email notification. The Applicant shall actively review and checking the evaluation result.

b. Evaluator shall do the risk classification of the medical device maximum 7 days.

c. The Applicant will receive email notification of nontax revenue fee which must be paid according to the classification of the medical device.

d. The Applicant must have made non-tax revenue fee payment and uploaded receipt of the payment maximum 14 days after receive the non-tax revenue fee notification.

e. At pre-registration stage, evaluation and verification against data completion are not yet started.

2. Evaluation Process Stage

The evaluation process stage is to do the evaluation and verification to meets requirement of safety, quality, and efficacy in order to obtain Marketing Lecense.

Evaluation Result may be in form of:

a. Approval of the Marketing Authorization

b. Notification for data addition

c. Rejection letter

Evaluation Stages are:

i. The Applicant who has paid the tax and uploaded payment receipt will get fixed receipt that can be printed out from email notification.

ii. For Class D of Medical Device, hardcopy document shall have to submit to the counter to get fixed receipt. The hardcopies which are required to be submitted are as follows: Administrative data, Clinical data, Biocompatibility data, Risk Management, Executive Summary, Colored Labeling 2 (two) copies and Soft copy of accessories enclosure (if any).

iii. Evaluation result at registration stage will be sent online. The Applicant have to check the evaluation result.

iv. Submitted document that has been pass the evaluation process as complete the requirements will be approved to be given a Marketing Authorization.

v. If after the evaluation process, there are still lack of data to meet the requirement of the safety, quality, and efficacy, Applicant will receive additional data notification

to immediately accomplished the requirement.

vi. Registration documents that do not fulfill the requirements will be given 2 chance to submit additional data and each of the additional data shall be fulfilled within 30 days from notification date. Timeline of re-evaluation of each additional data is 45 days from additional data is submitted by applicant to the online system.

vii. In the event that the Applicant fails to complete the data according to the above requirement, therefore Rejection Letter will be issued and the Applicant shall submit new application, non-tax revenue fee payment is non-returnable for any rejected application.

- REQUIREMENTS OF MEDICAL DEVICE MARKETING AUTHORIZATION FOR NEW APPLICATION

A. GENERAL

Requirement of Marketing Authorization for medical device of new application comprises of administration and technical document requirement, as follows:

- Application Form

- Form A is Administration

- Form B is Product Information

- Form C is Information of Specification and Product Warranty

- Form D is Instruction for use

- Form E is Post Market Surveillance

Forms B, C, D, and E contain requirements that must be filled according to the risk classification

- Some specific medical devices have to comply special requirement:

a. Medical device which contain of/transmit radiation (ionizer substance) shall have permit from Nuclear Energy Regulatory Agency (BAPETEN).

b. Disposable sterile syringe have to do the local testing for sterility in accredited Laboratory in Indonesia.

c. Gauze, cotton, panty liner, sanitary napkin, adult diaper have to do the local testing for fluorescence and absorption in accredited Laboratory in Indonesia

d. Condom has to do the local testing for burst test and leakage in accredited Laboratory in Indonesia.

e. HIV test product have to attached the local clinical result from RSCM – Indonesia National Hospital.

f. Disinfectant product have to attached phenol coefficient testing from accredited Laboratory in Indonesia.

Form A:

- Medical Device Distributor License issued by the Minister of Health through Director General Pharmaceutical and Medical Device which is still valid (for local and import product distributor)

- Power of Attorney (Letter of Authorization) as sole agent or sole distributor which authorize to register the medical device from the principal/factory of origin and have to legalize by the local Indonesian Embassy (KBRI)

- Certificate of Free Sale (CFS) from Legal Authority Agent

- Certification and document mentioning conformity against standard of product, requirement of safety, effectiveness, and quality system in design and manufacturing process (ISO 9001, ISO 13485, CE Certificate)

- Executive Summary contains of information about marketing history, mechanism of the product, indication, formula, and history of product usage

- Standard and declaration of conformity against the standard on the  roduction/manufacturing of medical device

- Patent certificate/Brand name registration letter and Declaration of no objection to release the brand name/Declaration of no objection to release the agency

- Statement Letter of truth and accurate document

Form B:

- Explanation of Medical Device

- Description and feature of Medical Device

- Purpose of usage

- Indication

- Usage Guidelines/Instruction for Use

- Contra-indication (if any)

- Warning (if any)

- Caution (if any)

- Side Effect (If any)

- Alternative therapy (if any)

- Material

- Manufacturer Information

- Production Process

Form C:

- Functional characteristics and specification of the medical device technical performance.

- Additional information of device characteristics which are not yet included in the previous part.

- Summary of design verification and document validation

- Pre Clinical studies

- Test result of software validation (if applicable).

- Result of the research on any device containing biologic material.

- Clinical Evidence and Clinical Evaluation

- Risk Analysis

- Result of Risk Analysis

- Specification and/or requirement of raw material

- Specification of packaging (Diagnostic product)

- Provide data of analysis result and or clinical test (specificity, sensitivity and stability) for reagent or in-vitro diagnostic product

- Provide analysis test result/clinical test result and device safety

Form D:

- Packaging and labeling artwork

- Explanation on symbols are used in packaging and labeling

- Guidelines of usage, training material & guidance of installation and its maintenance

- Batch/LOT/Serial Numbering System

- List of Accessories

Form E:

- Standard Operating Procedure, record management and product complaints handling, etc