## Slide 1: Regulation of Medical device Products
Presented by:
Maria Cecilia C. Matienzo
Division Chief
Center for Device Regulation, Radiation Health and Research
Food and Drug Administration
Department of Health

## Slide 2
TOPICS
The CDRRHR
Medical Device Defined
Regulatory Controls
Functions

## Slide 3
FDA Act created 4 Centers
Center for Drug
Regulation and
Research (to
include
veterinary
medicine,
vaccines and
biologicals)
Center for Food Regulation and Research
Center for Cosmetics Regulation and Research (to include household hazardous/urban substances)
Center for Device
Regulation,
Radiation Health,
and Research.

## Slide 4
The CDRRHR
Office of the Director
P- 10
Product Research and Standard Development
P – 6 (2)
JO - 1
Radiation Regulation Division
P – 16 (2)
JO - 2
Licensing
and
Registration
Division
P- 12
JO -8
Laboratory Support Division
P – 15
JO - 1

## Slide 5
Major Functions of CDRRHR
Regulation of the manufacture, import, export, distribution, promotion, advertisement, and sale of medical devices, radiation devices, and health-related devices
Regulation of the use of radiation devices
Health technology assessment of medical devices
Standards Formulation
Post Market Surveillance (Compliance Monitoring)

## Slide 6
Licensing and Registration Division
Licensing of medical device establishments (distributor/importer/wholesaler/exporter, manufacturer, trader, re-packer
Registration of medical device products
Regulation of advertisements and promotions
Post-market Alert System Reporting [Voluntary]
Develop policies, standards, regulations, and guidelines on the Regulation of medical devices [and other releated devices] in coordination with the PPO
Main Functions:

## Slide 7
Definition of Medical Device
Medical device means any instrument, apparatus, implement, machine, appliance, implant, in vitro reagent or calibrator, software, material or other similar or related article: a) intended by the manufacturer to be used, alone or in combination, for human beings for one or more of the specific purpose(s) of:
 | diagnosis, prevention, monitoring, treatment or alleviation of disease,
 | diagnosis, monitoring, treatment, alleviation of or compensation for an injury,
 | investigation, replacement, modification, or support of the anatomy or of a physiological process,
 | supporting or sustaining life,
 | control of conception,
 | disinfection of medical devices,
 | providing information for medical or diagnostic purposes by means of in-vitro examination of specimens derived from the human body;
and b) which does not achieve its primary intended action in or on the human body by pharmacological, immunological or metabolic means, but which may be assisted in its intended function by such means.

## Slide 8
Tongue depressor
syringe
pacemaker
Infant
incubator
cotton
Anaesthesia
machine
stents
X-ray machine
MRI
Laser
Condom
IUD
Sanitary napkin
toothbrush
Contact lens
Contact lens
solution
thermometer
Pregnancy
Test kit
Blood bag
Dental implants
Knee Implant
disinfectant
Surgical instruments
Surgical drapes
lancets
Blood collection tubes
dialyzer

## Slide 9
LTO
CPR
PMS
Regulatory Controls:

## Slide 10
Distributor
Manufacturer
Classifications of MD Establishments:
Licensing of Medical Device Establishments

## Slide 11
Distributor
Manufacturer
Importer
Wholesaler
Exporter
Retailer
Manufacturer
Trader
Repacker

## Slide 12
Requirements for LTO (Distributor):
GENERAL REQUIREMENTS
Notarized Petition Form and Joint Affidavit of Undertaking
Notarized Electronic Copy (E-copy) Affidavit
List of Medical Devices to be imported/distributed
Photocopy of the Pharmacist’s Board Registration Certificate, PRC-ID, valid PTR, Duties and Responsibilities, Certificate of attendance of Owner/Pharmacists to a FDA/BFAD seminar on Licensing of Drug/Medical Device Establishments and outlets
Location plan and floor plan (office and storage room/warehouse) with dimensions

## Slide 13
Photocopy of the Business Name Registration
  If single proprietorship, registration from the Department of Trade & Industry
  If corporation/partnership, registration from Securities & Exchange Commission (SEC) and Articles of Incorporation
ID pictures of the Owner/ Authorized Representative and Pharmacist (size: 5cm x 5 cm)
Photocopy of notarized valid Contract of Lease for the space of the office and storage to be occupied or any proof of ownership if it is owned by the applicant
During inspection:
Distribution Records
Product Recall Procedures
Laws and other References

## Slide 14
ADDITIONAL REQUIREMENTS:
For IMPORTER :
Foreign agency agreement with each supplier/source duly authenticated by the Territorial Philippine Consulate
Certificate of Registration of the Manufacturer and its conformity with GMP issued by a Government Health Authority or valid ISO Certification for Medical device and duly authenticated by the Territorial Philippine Consulate
For WHOLESALER:
Notarized valid Contract/Agreement with each FDA(BFAD) licensed supplier/manufacturer
Copy of the License to Operate (LTO) of the contracted manufacturer/supplier
Copy of the Certificate of Product Registration/Certificate of Exemption of Products to be distributed

## Slide 15
For EXPORTER:
Notarized valid Contract/Agreement with each FDA(BFAD) licensed supplier/manufacturer
Copy of the License to Operate (LTO) of the contracted manufacturer/supplier
Copy of the Certificate of Product Registration/Certificate of Exemption of Products to be distributed
NOTE:
In addition to the hard copy of the abovementioned standard requirements, the client shall also submit an electronic/scanned copy (in PDF Searchable Format at least 300dpi) on a DVD-R of the application.
The above stated requirements shall be properly labeled with table of contents indicating the number of pages, divider with ear-tags and place in a White Data Folder.

## Slide 16
Requirements for LTO (Manufacturer):
For pre-application as Manufacturer/Re-packer:
1. Letter of Intent for pre-site inspection
2. Location Plan of the proposed site
GENERAL REQUIREMENTS:
1. Notarized Accomplished Petition Form/Joint Affidavit of Undertaking
2. Notarized Electronic (E-copy) copy Affidavit
3. Photocopy of Business Name Registration
  a. For single proprietorship, registration from the Department of Trade & Industry(DTI)
  b. For corporation/partnership, registration from Securities & Exchange Commission (SEC) and Articles of Incorporation

## Slide 17
ID pictures of the Owner / Authorized Representative and Pharmacist (size: 5cm x 5cm)
Photocopy of Pharmacist’s Registration Board Certificate, PRC ID, PTR and Duties and Responsibilities of the Pharmacist
Photocopy of Certificate of Attendance of the Owner/Pharmacist to an FDA/ BFAD Seminar on Licensing (Manufacturers)
Photocopy of notarized valid Contract of Lease of the space/building or any proof of ownership
Photocopy of notarized certification of initial capital invested Location Plan/Site (indicate size, location, immediate environment, type of building)
List of products to be manufactured/distributed in generic and brand names

## Slide 18
ADDITIONAL REQUIREMENTS:
A. For Manufacturer:
Site Information File (SIF)
B. For Re-packer:
1. Site Information File (SIF)
2. Notarized valid Contract/Agreement with the Manufacturer/Trader with stipulation that
both the Manufacturer/Trader and Re-packer are jointly responsible for the quality of the products.
3. Photocopy of the License to Operate (LTO) of contract of manufacturer/trader

## Slide 19
C. For Trader:
1. Notarized valid Contract/Agreement with the Manufacturer/Re-packer with
stipulation that both the Manufacturer and/ Re-packer and Trader are jointly responsible for the quality of the products.
2. Floor plan of office and storage area
3. Photocopy of the License to Operate (LTO) of contract manufacturer/re-packer
D. For Importer of Raw Materials/Finished Products in Bulk:
1. Foreign Agency Agreement duly authenticated by the Territorial Philippine Consulate
2. Certificate of Status of Manufacturer (CGMP Certificate) issued by a Government Health Agency duly authenticated by the Territorial Philippine Consulate

## Slide 20
Reviews the documents as to compliance with the requirements and submits report
Release approved LTO
Start
Assess the documents as to completeness and verified against the e-copy
Prepares the License to Operate (LTO)
Initial and recommends approval of the LTO
Documents
Complete and the same as e-copy
N
Y
Submits Application At BHDT
Reviews the application and assigns task of technical evaluation and inspection
Requirements Complied?
Approves the LTO
End
Disapproved
Application and return
to applicant
A
Y
N
For Inspection?
N
Y
B
C
FLOWCHART LICENSE TO OPERATE
Medical Device Establishment
Reviews the Evaluation Report
Receives application and assigns control number
Applicant pays at the Cashier and Return the
Order of Payment at the BHDT

## Slide 21
Prepares the Notice of Deficiency
Approves the Notice of Deficiency
Mail/Fax the Notice of Deficiency
End
A
Prepares Department Personnel
Order
Conducts Inspection
Prepares and Submits Inspection Report
B
Requirements Complied?
D
N
Reviews the Inspection Report
C
Y
Submits Compliance to Deficiencies
Release approved LTO
Prepares the License to Operate
(LTO)
Initial and recommends approval of the LTO
Requirements Complied?
End
A
Y
N
D
Approves the LTO

## Slide 22
TIMELINE:
90 days

## Slide 23
REQUIREMENTS FOR CPR
1. Notarized Application Form from Distributor (Importer/Exporter/
Wholesaler)/Local Manufacturer/ Trader
2. Notarized Electronic Copy (e-copy) Affidavit
3. Valid License to Operate (LTO) of Distributor (Importer/ Exporter/
Wholesaler)/Local Manufacturer/ Trader
4. Government Certificate of Clearance and Free Sale/Registration
approval of the product from the country of origin issued by the Health
Authority and duly authenticated by the territorial Philippine Consulate
for Imported Product
5. Government Certificate attesting to the status of the manufacturer,
competency and reliability of the personnel and facilities or valid
ISO Certification for Imported Product. For imported products,
certificate must be and duly authenticated by the territorial
Philippine Consulate
6. Certificate of Foreign Agency Agreement between the manufacturer
and trader/distributor/importer regarding the product involved duly
authenticated by the territorial Philippine Consulate

## Slide 24
Specific Use and Directions/Instruction for Use
8. List of all raw materials used as component of the product and its
technical specifications. Must include quantity and detailed
information on physical and chemical properties of each
component.
9. Brief description of the methods used, the facilities and control in the
manufacture, processing and packaging of the product. For sterile
products, include sterilization standard parameters, sterilization
procedures, validation protocol and results of latest sterilization
validation with sterility tests. If the sterilization of the device was
contracted out, submit copy of valid ISO Certificate of the contracted
sterilizing company.
10. Technical specifications and physical description of the Finished
Product. Submit also the following : (a) Functionality/performance
test data & results conducted on the finished product; (b) test data
and results of the Biocompatibility test of the device being
registered; (c) Risk analysis and control of the device, if applicable

## Slide 25
11. Stability studies of the product, at least 3 trials, duly signed by the
person who conducted the studies to justify claimed expiration date.
If no expiration, submit declaration from the manufacturer why the device has no expiration
12. Labeling materials for all sizes/reference codes to be used for the
product : Immediate label, secondary packaging, box label and
package insert /brochure, whichever is applicable.
13. Representative sample in the market or commercial presentation
14. Evidence of registration fee/ payment (charge slip/official receipt)

## Slide 26
TIMELINE:
180 days

## Slide 27
POST MARKET SURVEILLANCE
Mandatory reporting of product recalls and/or adverse events
Quality Audit
Compliance Monitoring

## Slide 28
Any Questions?

## Slide 29
Thank You