## MEDICAL DEVICES

## Principal definitions

Medical devices (according to Article 3 of the Medical Devices Act, Official Gazette no. 76/13) are instruments, apparatuses, appliances, software, materials or other articles for human use that are used alone or in combination, including the software for diagnostic or therapeutic purposes, and that are necessary for their proper use. Medical devices do not achieve their principle intended action in or on the human body by pharmacological, immunological or metabolic means, although their action may be assisted by such means.

They are intended for:

- diagnosis, prevention, monitoring, treatment or alleviation of disease

- diagnosis, monitoring, treatment, alleviation or compensation for an injury or handicap

- investigation, replacement or modification of the anatomy or of a physiological process

- control of conception.

The following are also considered medical devices:

Active medical devices - medical devices relying for their functioning on a source of electrical energy or any source of power other than that directly generated by the human body or gravity.

Active implantable medical devices - active medical devices intended to be totally or partially introduced, surgically or medically, into the human body or by medical intervention into a natural orifice, and to remain after the procedure.

Custom-made devices - devices specifically made in accordance with a duly qualified medical practitioner’s or dental practitioner’s written prescription which gives, under his responsibility, specific design characteristics and are intended for the sole use of a particular patient.

Medical devices intended for clinical investigation - medical devices used as the subject of investigation or as additional equipment in the investigation of a medicinal product.

Accessories - devices that are not medical devices, but are intended specifically by their manufacturer to be used together with a medical device to enable the medical device to be used in accordance with its purpose intended by the manufacturer.

According to the Medical Devices Act, Official Gazette no. 76/13), medical devices include in vitro diagnostic medical devices including reagents, reagent products, calibrators, control materials, kits, instruments, apparatuses, equipment or systems, whether used alone or in combination, intended by the manufacturer to be used in vitro for the examination of specimens, including blood and tissue donations, derived from the human body, solely or principally for the purpose of providing information:

- concerning a physiological or pathological state

- concerning a congenital abnormality

- to determine the safety and compatibility with potential recipients,

- to monitor therapeutic measures.

In vitro diagnostic medical devices also include:

- Specimen receptacles - devices, whether vacuum-type or not, specifically intended by their manufacturer for the primary containment and preservation of specimens derived from the human body for the purpose of in vitro diagnostic examination.

- Medical devices for self-testing - in vitro diagnostic medical devices intended by the manufacturer for home use.

- Medical devices for performance evaluation - in vitro diagnostic medical devices intended for evaluation studies in a laboratory or in other appropriate environments.

- Accessories - devices that are not in vitro diagnostic medical devices, but are intended specifically by their manufacturer to be used together with an in vitro diagnostic medical device to enable the in vitro diagnostic medical device to be used in accordance with its purpose intended by the manufacturer.

Medical devices are grouped according to the level of risk, taking into consideration their purpose and duration of contact with the user and whether they are active or even invasive devices.

- Class I - low risk for users

- Class Im - Class I with a measurement function

- Class Is - Class I sterile

- Class IIa - medium risk for users

- Class IIb - high risk for users

- Class III - highest risk for users

In vitro diagnostic medical devices are classified as follows:

- those listed in List A of Annex II

- those listed in List B of Annex II

- in vitro diagnostic medical devices for self-testing or performance evaluation that are not listed in Annex II

- other in vitro diagnostic medical devices

## The role of HALMED

Through its statutory activities, the Agency for Medicinal Products and Medical Devices is responsible, inter alia, for three crucial areas underpinning the care for health and safety of all users of medical devices: it keeps registers of medical devices marketed in the Republic of Croatia and of related economic subjects, it acts as a platform for the successful implementation of the vigilance system and it participates in the work of international bodies thus keeping us abreast with all recent regulations, interpretations of regulations and EU guidelines on medical devices.

Pursuant to Article 212 of the Medicinal Products Act (Official Gazette no. 76/13 and 90/14) the Agency carries out the following activities with regard to medical devices:

- performs the laboratory testing of medical devices

- provides expert advice from its scope of activities

- provides expert guidelines from its scope of activities

- maintains the register of medical device manufacturers, the register of medical devices and the register of medical device wholesalers

- analyses and evaluates adverse events in clinical trials of medical devices

- grants authorisation for the retail sale of medical devices in specialized retail sale outlets

- maintains the register of medical devices marketed in the Republic of Croatia

- monitors the vigilance and safety of medical devices

- carries out the procedure for classification of medical devices

- issues certificates of free sale of medical devices

- provides education and information about medical devices

- establishes international cooperation in the field of medical devices

- proposes harmonisation of regulations on medical devices with those of the European Union as well as with the regulations and guidelines of international institutions.

## National legislation

### ACTS

- Medical Devices Act (Official Gazette, no. 76/13)

### ORDINANCES

- Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, no. 84/13)

- Ordinance on Specific Requirements for Medical Devices Manufactured Utilising Non-Viable Animal Tissues (Official Gazette, no. 83/13)

- Ordinance on Monitoring Adverse Incidents Related to Medical Devices (Official Gazette, no. 125/13)

- Ordinance on Good Practice in the Wholesale Distribution of Medical Devices and on the Conditions for Registration in the Register of Wholesale Distributors of Medical Devices (Official Gazette, no. 125/13)

- Ordinance on the Conditions for the Retail Sale and Issue of Authorisations to Specialised Outlets for the Retail Sale of Medical Devices (Official Gazette, no. 133/13)

## Procedure for registration in the register and information on medical devices

The Agency for Medicinal Products and Medical Devices maintains:

- a register of medical device manufacturers

- a register of Class I medical devices

- records of Class IIa, IIb and III medical devices.

The procedure, method of registration and documentation for the registration of a manufacturer in the register of manufacturers; procedure, method of registration and documentation for the registration of a Class I medical device in the register of medical devices; and the content and notification method for the placing a medical device on the market are defined in the Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, no. 84/13).

Register of medical device manufacturers

Natural and legal persons having their registered place of business in the Republic of Croatia who carry out activities of manufacturing Class I, IIa, IIb, III medical devices, in vitro diagnostic medical devices, active implantable medical devices and custom-made devices are registered in the register of medical device manufacturers, as are, for manufacturers established in third countries, their representatives having their registered place of business in the Republic of Croatia and authorised to represent the manufacturer in the European Union, i.e. authorised representatives.

The procedure for registering manufacturers and authorised representatives in the register of medical device manufacturers is initiated by a written application submitted to the Agency in Croatian language, not later than 15 days from the day of commencing activities.

The documentation to be submitted with the application is set out in Article 12 of the Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, No. 84/13).

On the basis of the completed application, the Agency will adopt a decision approving the registration of manufacturers and authorised representatives in the register of medical device manufacturers.

Register of medical devices

Class I medical devices are registered in the register of medical devices. Custom-made devices are not registered in the register of medical devices.

Applications for registration of a Class I medical device in the register of medical devices are submitted by medical device manufacturers having their registered place of business in the Republic of Croatia and by manufacturers’ authorised representatives having their registered place of business in the Republic of Croatia, who are registered in the register of medical device manufacturers.

The procedure for registering a medical device in the register of medical devices is initiated by a written application submitted to the Agency in Croatian language, not later than 15 days from the day of placing the medical device on the market.

The documentation to be submitted with the application is set out in Article 36 of the Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, No. 84/13).

Applications for registration of Class Is and Im medical devices are submitted separately, but devices covered by the same certificate of compliance may be grouped in one application.

Notification of placing a medical device on the market

Notifications of placing a medical device on the market are submitted by legal and natural persons who place on the market Class IIa, IIb and III medical devices, in vitro diagnostic medical devices and active implantable medical devices.

Notifications of placing a medical device on the market are sent to the Agency in writing, not later than 15 days from the day of placing the medical device on the market.

The documentation to be submitted with the notification of placing a medical device and in vitro diagnostic medical device is set out in Articles 43 and 44 of the Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, No. 84/13).

Notifications of placing a medical device on the market may include medical devices of the same manufacturer, of the same authorised representative and covered by the same certificate of compliance.

Forms

The form for registration in the register of manufacturers, form for registration in the register of Class I medical devices and forms for notifications of placing on the Croatian market Class IIa, IIb and III medical devices and in vitro diagnostic medical devices are a component part of the Ordinance on Essential Requirements, Classification, Registration of Manufacturers in the Register of Medical Device Manufacturers, Registration of Medical Devices in the Register of Medical Devices and Conformity Assessment of Medical Devices (Official Gazette, no. 84/13). Forms suitable for electronic completion and a template of a list of medical devices can be found here.

Administrative fees

Data for the payment of the administrative fee in the amount of HRK 300 to be submitted with an application for registration in the register of manufacturers and register of Class I medical devices can be found here.

## On the placing on the market of medical devices

The placing on the market of medical devices in the Republic of Croatia is regulated by the Medical Devices Act (Official Gazette, no. 76/13), the Ordinance on Good Practice in the Wholesale Distribution of Medical Devices and on the Conditions for Registration in the Register of Wholesale Distributors of Medical Devices (Official Gazette, no. 125/13) and the Ordinance on the Conditions for the Retail Sale and Issue of Authorisations to Specialised Outlets for the Retail Sale of Medical Devices (Official Gazette, no. 133/13).

The following terms are defined in the Act, among others:

- Wholesale of medical devices means purchase of medical devices and their resale to natural or legal persons with a view to performing their professional and registered activity, including purchase, receipt, storage, resale and delivery, with an exception of the delivery to the end user - sole customer.

- Retail of medical devices means ordering, storage, dispensing and resale of the medical device to the end user - intended for use by a sole customer.

- Import of a medical device means the wholesale of a medical device which has been imported from third counties to the territory of the European Union.

- Good practice in the wholesale of medical devices involves storage and transport standards relating to the wholesale of medical devices particularly ensuring the organisation, implementation and control of storage in line with the statutory requirements, as well as the transport of medical devices to wholesale users.

The Act adopted the acquis communautaire of the European Union and stipulates that medical devices may be placed on the market and begin to be used if they meet the essential requirements, if they have a certificate of compliance and if bear the CE marking.

## Wholesale and import

The wholesale of medical devices may be performed by:

- legal and natural persons having their registered place of business in the Republic of Croatia who are registered in the Agency’s register of medical device wholesalers,

- legal and natural persons having their place of business registered in the European Union who meet the requirements relating to wholesale of medical devices in the Member State in which they have their place of business,

- manufacturers of medical devices for those medical devices that they manufacture and which meet all the requirements stipulated by the Act.

Wholesalers engaged in the import of medical devices from third countries must:

- ensure that the manufacturer has carried out the appropriate conformity assessment 
procedure relating to the imported medical device,

- ensure that the manufacturer has prepared the proper technical documentation on the imported medical device,

- identify the contact name and the contact permanent address on the device, packaging or in the technical documentation attached to the device concerned,

- be in the possession of the declaration of conformity at the point of import and, if necessary, keep available for inspection other relevant documentation certifying the conformity of the medical device concerned.

The wholesaler that repackages or rebrands a medical device, puts it on the market in the Republic of Croatia under its own name or makes changes which mean that the device is no longer covered by the original CE mark, is regarded as the manufacturer of the medical device and is subject to all provisions relating to medical device manufacturers, including the obligation to carry out a new conformity assessment of the medical device. However, this does not apply to activities of translation of instructions for use and labelling to Croatian language and supplying the instructions with the device in a way that does not influence the device within the packaging in an unfavourable manner, all in order to fulfil the language requirements prescribed in the Republic of Croatia.

The requirements and necessary documentation and data for registration of wholesalers of medical devices are set out in the Ordinance on Good Practice in the Wholesale Distribution of Medical Devices and on the Conditions for Registration in the Register of Wholesale Distributors of Medical Devices (Official Gazette, no. 125/13).

The necessary form for registration in the register of wholesalers in a form suitable for electronic completion may be found here.