## Sheet1
List of Emergency Protection Necessities (Priority in Yellow)
NO. | Name of Protective Goods | Technical Standards for Chinese Production | Technical Standards for U.S. Production | Technical Standards for EU Production | Technical Standards for Japanese Production | Technical Standards for Other Countries' Production | Recommendations & Examples for Foreign Model(To meet national standards is ok.) | Quantity
1 | Medical Pprotective Mask with Medical Device Registration Certificate（N95） | GB 19083-2010 | NIOSH Certification，N95/N99+Fluid Resistant（CDC Certification） | FFP2/FFP3+Type II R（Fluid Resistant） | Clearly state:「サージカルＮ９５レスピレーターとして液体防護性があり、血液を含む液体等に有用」, or conforms to the following data: a) Artificial blood impermeability≥80mmHg b) ΔＰ（Respiratory resistance）≤35mmH2O | Meet two core metrics：1.Particle filtration>95%, 2. fluid resistant>120mmhg | 3M 1860/1870+/9132/1804/1805,etc | 0.7 million
2 | Medical Surgical Mask | YY 0469-2011 | ASTM F2100-II standard, level 2 & level 3 | EN 14683 + Type IIR | \ | \ | halyard health 48208/49207（level 3 and anti-liquid） | 0.3million
3 | Medical Nomal Mask | with medical device registration certificate | [5 empty] | 0.3million
4 | Medical Gown(conjoined) | GB19082-2009(Technical requirements for medical disposable protective clothing) | ASTM F1671-97a | EN14126* + Type 4(B)/EN 14605 or more | Pass JIS T 8060 8061 8062 test,and indicate「人工血液バリア性・ウイルスバリア性 クラス２・クラス３」 |  | DuPont Tyvek 1422A Type Protective Clothing Coveralls ；DuPont Tyvek 800J Coverall with Attached Hood；3M 4565； Lakeland AMN 428ETS,etc | 0.7million
5 | General N95 Protective Mask (used by ordinary people and medical staff who don't touch splashing liquids) | GB 2626 ，KN95/KN100 | NIOSH Certification，N95, N99 | FFP2/FFP3 | \ | \ | 3M 8810； PFR P1 P2,etc | unspecified
6 | Goggles | Flexible wear (compatible with glasses for a short sight), wide field of view, to have splash-proof function, four-ring seal, best to be anti-fog |  |  |  |  | 3M 1623AF /1621AF,etc | unspecified
7 | Disposable Surgical Clothing | with medical device registration certificate | [5 empty] | unspecified
8 | Disposable Clothing | with medical device registration certificate | [5 empty] | unspecified
9 | Disposable Hat (round) | with medical device registration certificate | [5 empty] | unspecified
10 | Disposable Rubber Gloves | with medical device registration certificate | [5 empty] | unspecified
11 | Protective Shoe Covers | [5 empty] | DuPont 29EU89 | unspecified
| Contact | Sahba Sobhani | UNDP IICPSD | sahba.sobhani@undp.org
|  | Gulcin Salingan | UNDP IICPSD | gulcin.salingan@undp.org
|  | Tianye Zhang | UNDP IICPSD | tianye.zhang@undp.org
|  | Huihua Hu | UNDP IICPSD | huihua.hu@undp.org